## Sheet1
| Heart Rate | Respiratory Rate | SP02 | Blood Pressure | Accelerometer | Skin Temperature | Placement | Data Transmission | API/SDK/Documentation | Availability | Access to Raw Data | Price + Shipping
Beddit Sensor | x | x |  |  | x |  | Under bedsheet | Bluetooth 2.0 | yes - poor | yes - beddit.com | no | ~€150
Zephyr Bioharness 3 | x | x |  |  | x | x | Around chest | Bluetooth 4.0 | yes but exclusive | yes - amazon | yes | ~€480
Angel Sensor | x |  | x |  | x | x | On wrist | Bluetooth 4.0 | yes - good | ~Mid Nov. | yes | ~€175
Zephyr HxM Smart | x |  |  |  | x |  | Around chest | Bluetooth 4.0 | yes - good | yes - amazon | yes | ~€70
Zoi | x |  |  |  | x | x | Around chest | Bluetooth 4.0 | maybe | yes | yes | possibly free
JP2011 Portable Multi-Parameters Monitor | x +ECG | x | x | x |  |  | On wrist with wires | Bluetooth 4.0 | no | yes - ships from China | yes | ?
Contec Pulse Oximeter |  |  | x |  |  |  | On wrist | Bluetooth 2.0 | no | yes | yes | ~€90
Device Factory 3 axis accelerometer |  | x |  |  | x |  | Around chest | Bluetooth 4.0 | yes | yes | yes | ~€32 (not including shipping)
Wahoo Tickr | x |  |  |  | x |  | Around chest | Bluetooth 4.0 | yes | yes | ?